## Slide 1: Adding CLIMs to the system
Module 6

## Slide 2: Module Objectives
  Procedures for adding CLIMs
    OSM LLL CLIM prep –Done by engineer or in factory
    SCF commands for adding CLIMS to the system
    SCF commands to show CIP subsystem and CLIM status
    Commands for adding other basic components as providers for IP CLIMs
    To enable a trusted relationship between NonStop and CLIM (Linux) we need to issue the (TACL) command SSOCLIM. (Single Sign On CLIM). This allows other commands like CLIMCMD to be used without logging on to the CLIM.
Note: All CLIMs newly shipped from factory with NonStop BladeSystem pre-configured with all of the required configurations
Notes: <footer>
<header>
<date/time>

## Slide 3: OSM Low-Level Link Support for Storage and IP CLIMs
  No discovery of CLIMs or attached storage enclosures.
  Module preparation (configuration) of CLIMs.
  Software update of CLIMs.
  System load via CLIM-attached disks.

## Slide 4: Logon Screen
or
If both are selected, CLIM software is updated before configuration is done

## Slide 5: CLIM Configuration
  Switch type
  System name
  Group, module, slot, port, and fiber where CLIM is connected
  CLIM name
  Mode of operation
  Number of connections per fabric
  Maintenance interface IP address, subnet, and optional gateway address
  PCI slot configuration
Note: old configurations use C prefix for all CLIMs. Newer configurations use S for Storage and N for Network (IP) CLIMs.

## Slide 6: CLIM configuration (under the hood)
  Initiates a SSH session to the CLIM
  Calls climprep Linux command to define configuration setup by the user
  Sets hostname of CLIM to be CLIM name defined by the user
  Issues lunmgr --approve yesall command to assign LUNs to attached strage devices (for storage CLIM only)
  Executes the CLIM boot configuration script to setup the correct memory size for CLIM after reboot
  Sets IP address, subnet mask, and gateway address of maintenance interface of CLIM
  Reboots the CLIM

## Slide 7: CLIM Software Update
  CLIM software updates available via CLIM DVD.
  CLIM software updates downloadable from SCOUT, through NonStop eServices Portal.
  No DVD drive on CLIM.
  CLIM software installed on NSC in c:\hp-clim.
  CLIM software transferred to CLIM via OSM Low-Level Link over the maintenance LAN.
  Only changed software transferred for efficiency.
CLIM
NSC
CLIM DVD
C:\hp-clim

## Slide 8: OSM CLIM Software Update Action
Notes: <footer>
<header>
<date/time>

## Slide 9: System Load Via CLIM
  Same system load display
  New choice in the Configuration drop down list for “CLIM attached – Load”
  CLIM-attached disk configurations, saved with “Save as System Load Configuration” in OSM Service Connection, are displayed in the drop down list

## Slide 10: CLIM NonStop configuration
  Configure and start CIPMAN and CIPMON processes via SCF ADD PROCESS and SCF START PROCESS commands
  Configure and start CLIM via SCF ADD CLIM and SCF START CLIM commands, or OSM Service Connection Configure CLIM and Start actions
  Configure and start PROVIDER via SCF ADD PROVIDER and SCF START PROVIDER commands (for IP CLIM only)
  Configure and start attached disks and tapes via SCF ADD DISK, SCF ADD TAPE, SCF START DISK, and SCF START TAPE commands (for storage CLIM only)
  For enabling CLIMCMD commands a trusted partnership must be setup between the NonStop system and the CLIM. The SSOCLIM command must be used (from TACL) on the NonStop system to do that.
  All the steps should be already done for newly shipped systems or only the first one as part of DSM/SCM installation (adding CLIMS to NS16x00).

## Slide 11: New SCF Commands
  CLIM commands
    status, info, add, delete,
Examples:
  Network CLIM
  <SCF> add clim $zzcip.N1002582, location & (100,2,5,8,2), connpts 1, mode ip, & provider ztc0
  Storage CLIM
  <SCF> add clim $zzcip.S1002541, location & (100,2,5,4,1),connpts 2,mode storage
  <SCF> delete clim $zzcip.S1002541
  <SCF> start clim $zzcip.S1002541
  <SCF> info clim $zzcip.*
Notes: Server blades 0-7 are in group 100, and server blades 8-15 are in group 101.
The module number can be 2 or 3 depending on the ServerNet cards.
Slot numbers can be 5, or 7 depending on the ServerNet cards.
Port is the physical connector on the back of the CLIM (3 – 8).
Fiber is the cable pair coming out of the physical port (1-4).
Normally a Storage CLIM will have 2 connection-points (how many X and Y pairs connect the CLIM) for fault-tolerance.
The Network (IP) CLIM normally has 1 connection-point, but can be configured for 2.
The Network (IP) CLIM needs a provider specified, this can be added and started later.
The CLIM is configured at the factory. The SCF add command shown, is needed to inform the BladeSystem that a CLIM is attached.
The CLIM designations are: S for Storage CLIMs, N for Network CLIMs, and O for Telco CLIMs. (Examples may show a C for both CLIMs)
The CLIM name must match the one specified in OSM LLL.

## Slide 12: New SCF CLIM Commands (1 of 7)
<TACL> scf
1-> status process $zzkrn.zzcip
Symbolic Name Name State Sub Primary Backup Owner
PID PID ID
ZZCIP $ZZCIP STARTED 0 ,325 1 ,301 255,255
2-> status process $zzkrn.cipmon
Symbolic Name Name State Sub Primary Backup Owner
PID PID ID
CIPMON $ZCM00 STARTED 0 ,328 None 255,255
CIPMON $ZCM01 STARTED 1 ,326 None 255,255
CIPMON $ZCM02 STARTED 2 ,302 None 255,255
CIPMON $ZCM03 STARTED 3 ,298 None 255,255

## Slide 13: New SCF CLIM Commands (2 of 7)
<TACL> scf
2-> assume $zzcip
$ZZCIP 3-> info clim *
CIP Info CLIM
Name Mode Location ConnPts Provider
S1002531 STORAGE (100 ,2 ,5 ,3 ,1 ) 2 --
S1002533 STORAGE (100 ,2 ,5 ,3 ,3 ) 2 --
N1002581 IP (100 ,2 ,5 ,8 ,1 ) 1 ZTC0
N1002583 IP (100 ,2 ,5 ,8 ,3 ) 1 ZTC0

## Slide 14: New SCF CLIM Commands (3 of 7)
$ZZCIP 3-> info clim s1002531,detail
CIP Detailed Info CLIM \SABER.$ZZCIP.S1002531
Mode................. STORAGE
Configured Location.. Group 100 , Module 2 , Slot 5 , Port 3 , Fiber 1
ConnPts.............. 2
X1 Location.......... Group 100 , Module 2 , Slot 5 , Port 3 , Fiber 1
Y1 Location.......... Group 100 , Module 3 , Slot 7 , Port 3 , Fiber 1
SvNet ID 1........... 0x000E3F22
X2 Location.......... Group 100 , Module 2 , Slot 5 , Port 3 , Fiber 2
Y2 Location.......... Group 100 , Module 3 , Slot 7 , Port 3 , Fiber 2
SvNet ID 2........... 0x000E3F23
Maintenance Interface IP... 192.168.37.31

## Slide 15: New SCF CLIM Commands (4 of 7)
$ZZCIP 4-> info clim $zzsto.s1002531,detail
STORAGE - Detailed Info CLIM \SABER.$ZZSTO.#S1002531
Configured Devices:
Type Name Primary CPU Backup CPU Lun
DISK $SYSTEM-P 0 1 101
DISK $DSMSCM-B 1 0 102
DISK $AUDIT-P 0 1 103
DISK $OSS-B 2 3 104
DISK $DATA00-P 3 2 105
DISK $DATA01-B 2 3 106
DISK $DATA02-P 3 2 107
DISK $DATA03-B 2 3 111
DISK $TEST04-P 2 3 120
DISK $DATA05-B 2 3 121
DISK $SYSTEM-MB 0 1 201
DISK $DSMSCM-M 1 0 202
Notes: Continuation of output from the above slide.
DISK $AUDIT-MB 0 1 203
DISK $OSS-M 2 3 204
DISK $DATA01-M 2 3 206
DISK $DATA02-MB 3 2 207
DISK $DATA00-MB 3 2 208
DISK $DATA03-M 2 3 211
DISK $TEST04-MB 2 3 220
DISK $DATA05-M 2 3 221
The logical unit number (LUN) shows the MSA70 storage shelf and drive location.
The default naming convention for SAS disks are $SAS##

## Slide 16: New SCF CLIM Commands (5 of 7)
$ZZCIP 6-> status clim $zzcip.*
CIP Status CLIM
Name Present State Trace
S1002531 Yes STARTED OFF
S1002533 Yes STARTED OFF
N1002581 Yes STARTED OFF
N1002583 Yes STARTED OFF
Notes: Other states are: Starting, Stopping, or Stopped.

## Slide 17: New SCF CLIM Commands (6 of 7)
$ZZCIP 7-> status clim $zzcip.S1002531,detail
CIP Detailed Status CLIM \SABER.$ZZCIP.S1002531
Mode...................... STORAGE
CLIM HW Connection Status. Connected
State..................... STARTED
ConnPts................... 2
X1 Location.......... Group 100 , Module 2 , Slot 5 , Port 3 , Fiber 1
Expected Y1 Location. Group 100 , Module 3 , Slot 7 , Port 3 , Fiber 1
X2 Location.......... Group 100 , Module 2 , Slot 5 , Port 3 , Fiber 2
Expected Y2 Location. Group 100 , Module 3 , Slot 7 , Port 3 , Fiber 2
X1 Connection Status...... Connected
Y1 Connection Status...... Connected
X2 Connection Status...... Connected
Y2 Connection Status...... Connected
Trace Status.............. OFF
Notes: XP disk drives start with group 1000.

## Slide 18: New SCF CLIM Commands (7 of 7)
$ZZCIP 7-> status clim $zzcip.S1002531,detail (continued)
Last Restart Time......... 29 Sep 2008, 16:07:46.000
CLIM Hostname............. S1002531
CIP SW Version............ T0853H01_01AUG2008_23JUL2008_AAANetwork SW Version........ T0691H01_01AUG2008_AAB_CLIM
Storage SW Version........ T0830H01_01AUG2008_23JUL2008_AAA
Number of Socket Servers.. 1
Linux Version:
Linux version 2.6.18-6-clim-amd64 (Debian 2.6.18.dfsg.1-18hpdeetch1hpde1.9) (brian.haley@hp.com) (gcc version 4.1.2 20061115 (prerelease) (Debian 4.1.1-21)) #
1 SMP PREEMPT Wed Jul 9 21:42:14 UTC 2008Fabric Status:
CIPMON Mgmt Data
ZCM00 XY-2 XY-2
ZCM01 XY-1 XY-1
ZCM02 XY-1 XY-1
ZCM03 XY-2 XY-2
Notes: Continuation of the output from the above slide.
CLIM Maintenance Interface Status & IP Addresses:
eth0 Sts:UP Lkp:UP IPv4: 192.168.37.31
IPv6: fe80::21e:bff:fe78:57e
Data Interface Status & IP Addresses:
Flg Name Status LkP Master / IP Family & Address
lo UP --
IPv4: 127.0.0.1
IPv6: ::1

## Slide 19: SCF ADD PROVIDER
10-> ADD PROVIDER $ZZCIP.ZTC2 , &
TPNAME $ZTC2 , &
HOSTNAME “MYSYS” , &
HOSTID 200.2.3.4 , &
TYPE IPDATA , &
FAMILY INET
This is a normal provider, TYPE IPDATA. There are two special providers, TYPE MAINTENANCE, for the service connections, $ZZCIP.ZTCP0 and $ZZCIP.ZTCP1.

## Slide 20: SCF Info Provider
10-> info provider $zzcip.*
CIP Info PROVIDER
Name *TPName TYPE *HOSTNAME
ZTC0 $ZTC0 IPDATA DAGGER ZTCP0 $ZTCP0 MAINTENANCE osmlanx ZTCP1 $ZTCP1 MAINTENANCE osmlany
11-> info provider $zzcip.* ,detail
*TPName.................... $ZTC0 Type...................... IPDATA *HostID.................... 0.0.0.0 *Hostname.................. DAGGER *TCP-Listen-Que-Min........ 128 *BRecvPort................. No Ports Specified *Family.................... INET *Share-Ports............... 1000 Associated CLIMs:
Name Index N1002581 0 N1002583 1
Notes: Note the provider will only get into STARTED state when one of the associated CLIMs is in STARTED state.

## Slide 21: Cluster I/O Protocols (CIP)
$ZZCIP 9-> listdev tcpip
LDev Name PPID BPID Type RSize Pri Program
209 $ZTCP0 0,359 1,355 (48,0 ) 57344 201 \SABER.$SYSTEM.SYS04.CIPSAM
224 $ZTCP1 1,352 0,384 (48,0 ) 57344 201 \SABER.$SYSTEM.SYS04.CIPSAM
227 $ZTC0 0,387 1,367 (48,0 ) 57344 201 \SABER.$SYSTEM.SYS04.CIPSAM
$ZZCIP 10-> listdev cip
LDev Name PPID BPID Type RSize Pri Program
88 $ZZCIP 0,332 1,311 (74,0 ) 132 200 \SABER.$SYSTEM.SYS04.CIPMAN
182 $ZCM03 3,327 (74,1 ) 57344 200 \SABER.$SYSTEM.SYS04.CIPMON
183 $ZCM02 2,320 (74,1 ) 57344 200 \SABER.$SYSTEM.SYS04.CIPMON
184 $ZCM01 1,341 (74,1 ) 57344 200 \SABER.$SYSTEM.SYS04.CIPMON
185 $ZCM00 0,335 (74,1 ) 57344 200 \SABER.$SYSTEM.SYS04.CIPMON
Notes: $ZZCIP — Cluster I/O Protocol (CIP) manager
$ZCM## — CIP monitor

## Slide 22: List Devices
$ZZCIP 13-> listdev $zzcip
LDev Name PPID BPID Type RSize Pri Program
88 $ZZCIP 0,332 1,311 (74,0 ) 132 200 \SABER.$SYSTEM.SYS04.CIPMAN
$ZZCIP 14-> names $zzcip
CIP Names PROCESS \SABER.$ZZCIP
PROCESS
$ZZCIP
MON
$ZZCIP.ZCM00 $ZZCIP.ZCM01 $ZZCIP.ZCM02 $ZZCIP.ZCM03
PROVIDER
$ZZCIP.ZTC0 $ZZCIP.ZTCP0 $ZZCIP.ZTCP1
CLIM
$ZZCIP.S1002531 $ZZCIP.S1002533 $ZZCIP.N1002581 $ZZCIP.N1002583
Notes: The NAMES command returns a list of the object names and types subordinate to the
specified object.

## Slide 23: SCF Stats Mon
16-> stats mon $zzcip.ZCM00
CIP Stats MON \DAGGER.$ZZCIP.ZCM00
Sample Time ... 11 Dec 2008, 12:56:15.829
Reset Time .... 08 Dec 2008, 13:03:36.726SOCKET STATS
Total Recv Socket Reqs...... 575
Total Recv Errors........... 2
Total Send Socket Reqs...... 67609
Total Send Errors........... 0
Data Bytes Sent............. 50465612
Data Bytes Received......... 6978
Total Connections Out....... 26 Total Connections In........ 8
Current TCP Listen Sockets.. 10 High TCP Listen Sockets..... 10
Current UDP Sockets......... 3 High UDP Sockets............ 3
Current TCP Connections..... 2 High TCP Connections........ 4
Notes: <SCF> stats mon $zzcp.zcm00 (continued)
SOCKET SEND SIZE HISTOGRAM
Size 1-128.................. 37362 Size 129-256................ 34
Size 257-512................ 0 Size 513-1024............... 0
Size 1025-2048.............. 30213 Size 2049-4096.............. 0
Size 4097-8192.............. 0 Size 8193-12288............. 0
Size 12289-16384............ 0 Size 16385-32768............ 0
Size 32769 and larger....... 0
MON STATS
Total Messages Sent......... 67818
Total Messages Received..... 1607
Current Connected CLIMs..... 4 High Connected CLIMs........ 4
Total Rejected Connections.. 0 Deferred Sends.............. 0

## Slide 24: Linux Events (1 of 2)
Linux events are automatically forwarded to EMS
  Sample Linux CLIM event
  00226 2008-01-29 15:15:31 \POS27.$ZCM00 TANDEM.CIP.H01 005227 CLIM Event CLIM Name: C100271 Logged by CLIM at: Tue Jan 29 15:15:04 2008 logger: 2008/01/29 23:15:04.000000 lunmgr: Do_update ().

## Slide 25: Linux Events (2 of 2)
SAS Disk Removal events
  00226 2008-01-29 15:15:31 \POS27.$ZCM00 TANDEM.CIP.H01 005227 CLIM Event CLIM Name: C100271 Logged by CLIM at: Tue Jan 29 15:15:04 2008 logger: 2008/01/29 23:15:04.000000 lunmgr: Do_update ().
  00227 2008-01-29 15:15:31 \POS27.$ZCM00 TANDEM.CIP.H01 005227 CLIM Event CLIM Name: C100271 Logged by CLIM at: Tue Jan 29 15:15:06 2008 kernel: 2008/01/29 23:15:06.909064 stomod: ctd: Table entry 003 disabled - lun = 102, id = 515
  00228 2008-01-29 15:15:31 \POS27.$ZCM00 TANDEM.CIP.H01 005227 CLIM Event CLIM Name: C100271 Logged by CLIM at: Tue Jan 29 15:15:06 2008 kernel: target0:0:2: delete device: fw_channel 0, fw_id 36, phy 1, sas_addr 0x5000c50000f7c481
  00229 2008-01-29 15:15:31 \POS27.$ZCM00 TANDEM.CIP.H01 005227 CLIM Event CLIM Name: C100271 Logged by CLIM at: Tue Jan 29 15:15:06 2008 kernel: 2008/01/29 23:15:06.912087 stomod: ctd: Table entry 003 deleted

## Slide 26: CLIM Single Sign On
  The command connection from the NonStop system to manage a CLIM is using SSH.
  To establish a trust (exchange keys) an SSOCLIM command must be executed from the TACL command line on the NonStop system.
  This is normally done at the factory or by the engineer who installs the CLIM.
  <TACL> sssoclim
  $$------------------------------------------------$$
  $ SSOCLIM sets up the Single-Sign-On to the CLIM $
  $ version 1.0 Date: 01-May-2008 $
  $$------------------------------------------------$$
  Enter CLIM Name or IP Address or DNS name> ...
Notes: <TACL> sssoclim
  $$------------------------------------------------$$
  $ SSOCLIM sets up the Single-Sign-On to the CLIM $
  $ version 1.0 Date: 01-May-2008 $
  $$------------------------------------------------$$
  Enter CLIM Name or IP Address or DNS name> 192.168.36.222
  CLIM username(eg root): root
  CLIM password:
  using $ZSSP0...
  WARNING: New keys will be generated for the trust establishment between
  NonStop host and all CLIMs on \TAURUS.
  If you continue, SSOCLIM will be required to be run on ALL CLIMs
  connected to this system.
  Do you want to continue(Yes/No)?Yes
  Continuing...
  generating and exporting key...
  installing key for root@192.168.36.222

## Slide 27: CLIM Object Name and Hostname
  The CLIM object name on the NonStop system must be the same as the host name on the CLIM in order for the CLIM to be brought to the STARTED state
  You assign the name
    CLIM host names on different systems can be the same as long as the combination of the system name and the CLIM host name are unique across the dedicated service LAN
      Two systems named \A and \B, can have a CLIM with a host name of CLIM1 on each system, since the combination of system name and CLIM name are unique
  Neither the CLIM object name nor the host name on the CLIM can be changed while the CLIM object is STARTED

## Slide 28: Renaming CLIMs
  The CLIM must be aborted and stopped using the SCF utility
  The name of the CLIM and or the system name in the CLIM configuration can be changed
    Some configuration changes can be done using the climcmd, others need to use the OSM low-level link (LLL)
  The CLIM can then be re-added and started using the SCF utility
Notes:     For instructions on configuring a CLIM, see the CLuster I/O Module (CLIM) Installation and Configuration Guide

## Slide 29
Notes: <footer>
<header>
<date/time>